## FRP_APRIL_2026
Reference_ID | Date | Time | Solar / Non-Solar | Generator_Name | Actual Net Interchange before the Event, PA (Import +ve / Export -ve) | Actual Net Interchange after the Event, PB (Import +ve / Export -ve) | Change in net interchange, PB-PA (2 - 1) | Generation Loss (+) / Load Throw off (-) during the Event, PL | Control Area Response, ΔP=(PB-PA) – PL | Frequency before the Event, fA | Frequency after the Event, fB | Change in Frequency, Δf=(fB-fA) | Frequency Response Characteristic, ΔP/ Δf | Frequency Response Obligation (FRO) of each control area | Frequency Response Performance (FRP) | Modified FRP for Average (either NA or value between 0 to 1)
2026-04-13-11:00:00 | 2026-04-13 | 11:00 | Solar | APL Udupi | -638.34 | -665.83 | -27.49 | 0 | -27.49 | 50.145 | 50.086 | -0.059 | 465.9322 | 132 | 3.5298 | 1
1

## Summary1
Generator Name - APL Udupi
Sl no. | Month | Beta Value
1 | 2026-04-01 | 1